Chapter 15.42 - WATER CONSERVATION REGULATION[3]

Sections:

Footnotes:

--- (3) ---

Editor's note— Ord. No. 2479, § 1, adopted October 16, 2017, amended the Code by repealing former ch. 15.42, §§ 15.42.010—15.42.100. Former ch. 15.42 pertained to similar subject matter and derived from Ord. No. 1842 of 1993; Ord. No. 2167 of 2004; Ord. No. 2427, adopted May 5, 2014; Ord. No. 2438, adopted November 17, 2014; Ord. No. 2442, adopted June 1, 2015; and Ord. No. 2443, adopted June 15, 2015.

15.42.010 - General provisions.

Purpose. The purpose of this chapter is to ensure compliance with all federal, state and local requirements relating to water conservation and drought mitigation for the protection of public health, safety and welfare by:

A.  Reducing the per capita water consumption throughout the city during years of normal precipitation and during years of drought;

B.  Protecting and conserving the city's supply of water during specified times of emergency and/or crisis;

C.  Minimizing and/or eliminating the water waste through voluntary compliance or punitive action, if necessary.

(Ord. No. 2479, § 1, 10-16-2017)

15.42.020 - Definitions.

For the purposes of this chapter, certain words and phrases are defined and certain provisions are to be construed as set forth in this section:

A.  "Condition of Groundwater Basin" shall mean the condition of the city groundwater subbasin as determined by the California Department of Water Resources (DWR).

B.  "Director" shall mean the director of public works or designated authorized representative.

C.  "Over Draft" shall mean the condition in which more groundwater is being pumped out than is replenished into the aquifer.

D.  "Water Waste" shall mean water running off down gutters, streets, or sidewalks leading to significant puddling and unreasonable elimination without a reasonable purpose, and as further defined in Section 15.42.050.

(Ord. No. 2479, § 1, 10-16-2017)

15.42.030 - Application of regulations.

The provisions of this chapter shall apply to all persons using water both in and outside the city served by the city water system, and regardless of whether any person using water shall have a contract for water service with the city.

(Ord. No. 2479, § 1, 10-16-2017)

15.42.040 - Provisions superseded.

Notwithstanding other code provisions inconsistent with this chapter, the provisions of this chapter shall supersede and prevail until repeal of this chapter.

(Ord. No. 2479, § 1, 10-16-2017)

15.42.050 - Water conservation levels and prohibitions.

Notwithstanding any other provision of this chapter, at least one (1) of the following four (4) levels of water conservation restrictions shall apply at all times. The applicable level(s) of water conservation restrictions shall be based upon the condition of groundwater basin determination of the California Department of Water Resources then in effect, or by resolution of the city council based upon a recommendation by the director.

The current level of water conservation restrictions, and any change in said the level of water conservation restrictions, shall be communicated to the public by reasonable means to ensure compliance, including but not limited to, posting on the city's website, publishing in the local newspaper, and written notice to be included with the city's water bills.

All persons using water supplied by the city shall comply with the following mandatory water conservation restrictions:

A.  Level 1: This level is in effect at all times and establishes the baseline conservation measures for the city.

1.  Water waste prohibition: the following uses of water are defined as 'water waste' and are hereby prohibited except as otherwise authorized:

(a)  The washing of sidewalks, driveways, filling station aprons, porches or other outdoor surfaces except when necessary to protect the public health and safety.

(b)  The washing of the exterior of dwellings, buildings, and structures, with the following exceptions:

(1)  Window washing,

(2)  Washing in conjunction with the painting of the exterior of a dwelling, building or structure,

(3)  Washing of a dwelling, building or structure may be allowed once every twelve (12) months.

All exceptions listed above must comply with Sections 15.42.100(A) and (B) and the hose(s) must be fitted with an automatic shutoff device(s).

(c)  The operation of any ornamental fountain or other such structure making use of water from the city domestic water system, unless such fountain or structure uses a recirculating water system.

(d)  The use of water, except for domestic use, where an adequate source of water is available whether such alternate source is reclaimed water, well water, spring water, or other source.

(e)  The external washing of trailers, trailer houses, mobile homes, and home exteriors unless in conjunction with painting the exterior of such trailers, or homes with an automatic shut-off device.

(f)  The washing of boats or motor vehicles with a hose that is not fitted with an automatic shut-off device.

(g)  The indiscriminate running of water or washing with water not otherwise prohibited above which is wasteful and without reasonable purpose.

(h)  The application of potable water to outdoor landscapes during and within forty-eight (48) hours after measurable rainfall.

(i)  All car wash fundraisers must be held at an established car washing facility that collects and recycles the run-off water before it enters the city's sewer system. When held in a parking lot, car washes can cause pollutants such as soap, dirt, oil grease, and other automotive fluids to enter the storm drain system.

(j)  The serving of drinking water other than upon request in eating or drinking establishments, including but not limited to restaurants, hotels, cafes, cafeterias, bars, or other public places where food or drink are served and/or purchased.

(k)  To promote water conservation, operators of hotels and motels shall provide guests with the option of choosing not to have towels and linens laundered daily. The hotel or motel shall prominently display notice of this option in each guestroom using clear and easily understood language.

B.  Level 2: This level shall be in effect when the Department of Water Resources determines the condition of groundwater basin is in a state of critical over draft. During any time in which level 2 restrictions are imposed the following mandatory conservation restrictions shall apply in addition to all level 1 restrictions on water waste.

1.  Three-day watering schedule:

(a)  Any sprinkling, watering, or irrigation between the mid-day hours of nine a.m. and nine p.m. is prohibited.

(b)  Watering by persons with even numbered addresses or on properties without an assigned address is only allowed on Tuesdays, Thursdays, and Saturdays.

(c)  Watering by persons with odd numbered addresses is only allowed on Wednesdays, Fridays, and Sundays.

(d)  Any watering by persons on Mondays with the exception of parks is prohibited.

C.  Level 3: This level shall be in effect when the governor has declared a state of emergency due to drought. During any time in which level 3 restrictions are imposed the following mandatory conservation restrictions shall apply in addition to all non-conflicting level 1 and level 2 restrictions.

1.  Two-day watering schedule:

(a)  Any sprinkling, watering, or irrigation between the mid-day hours of nine a.m. and nine p.m.

(b)  Watering by persons with even numbered addresses or on properties without an assigned address is only allowed on Tuesdays and Saturdays.

(c)  Watering by persons with odd numbered addresses is only allowed on Wednesdays and Sundays.

(d)  Parks, commercial nurseries, cemeteries, and schools are exempt from subsections C.1. of this section but will be requested to curtail all nonessential water use.

D.  Level 4: This level shall be in effect during times of catastrophe, i.e., system failure, natural disaster and/or when city council deems it necessary. During any time in which level 4 restrictions are imposed the following mandatory conservation restrictions shall apply in addition to all non-conflicting level 1, level 2, and level 3 restrictions.

1.  Restricted watering:

(a)  All landscape irrigation shall be prohibited.

(b)  Minimal essential watering of trees and shrubs with a bucket, handheld hose with a positive shutoff nozzle, or low volume non-spray irrigation shall be allowed.

(c)  Maintenance of landscaping within active public parks and playing fields, schools, and cemeteries, provided that such irrigation does not exceed two (2) days per week according to the schedule established in level 3.

(d)  All leaks detected in landscape irrigation systems or water systems shall be repaired within twenty-four (24) hours of notification by the city unless other arrangements are made with the director.

(Ord. No. 2479, § 1, 10-16-2017)

15.42.060 - Variances.

The director may grant variances for uses of water otherwise prohibited if found and determined that to fail to do so would cause an emergency condition affecting health, sanitation, or fire protection to the applicant or the public. The director's determination concerning variances shall be final.

(Ord. No. 2479, § 1, 10-16-2017)

15.42.070 - Disconnection for violation.

Any person within the water service area who is in violation of the water prohibition provisions of this chapter shall be subject to immediate disconnection of water service at the violator's expense. Upon disconnection of water service, a written notice shall be served upon the violator which shall state the time, place, and general description of the violation or penalty, and the method by which reconnection can be made.

(Ord. No. 2479, § 1, 10-16-2017)

15.42.080 - Reconnection conditions.

Where water service has been disconnected as authorized in Section 15.42.070, the water service shall be immediately reconnected on condition that reconnection charge is paid in an amount fixed pursuant to the Merced Municipal Code Section 15.28.040.

(Ord. No. 2479, § 1, 10-16-2017)

15.42.090 - Equipment tampering illegal.

It is unlawful for any person to remove, replace, alter or damage any water meter or components thereof including, but not limited to, the meter face, its dials or other water usage indicators.

(Ord. No. 2479, § 1, 10-16-2017)

15.42.100 - Prohibited uses—mandatory.

The following uses, methods, types, or techniques of use of water are hereby determined and declared nonessential and are prohibited:

A.  All Users.

1.  Allowing broken or defective plumbing, or sprinklers, watering or irrigation systems which permit the escape or leakage of water.

2.  The use of water in any manner which causes, allows, or permits the flooding of any premises, or any portion thereof.

3.  All uses of non-potable water without the permission of the Department of Public Works, except for the use of rainwater collected for irrigation purposes.

B.  New planting. Notwithstanding the prohibitions contained in Section 15.42.050 of this Chapter, new lawns, ground cover, or bedding plants, may be watered every day between nine p.m. and nine a.m. provided the following conditions are met:

1.  New lawns, ground cover, or bedding plants shall not include the reseeding of existing lawns or replacement of existing ground cover, or bedding plants, and shall be newly rototilled earth;

2.  A permit must be obtained from the Department of Public Works;

3.  The permit shall be limited to thirty (30) days' duration;

4.  No permit shall be issued if the city is in level 4 water conservation level; and,

5.  The director may impose such other restrictions as are deemed necessary to prevent the water waste.

(Ord. No. 2479, § 1, 10-16-2017)

15.42.110 - Implementation.

A.  The director is hereby authorized and empowered to delegate authority hereunder to such deputies, officers, employees, or agents of the city as they shall designate, and to establish such rules, regulations, and procedures, and to prepare or furnish such forms, warnings, et cetera as deemed necessary or appropriate to carry out the provisions of this chapter.

B.  Upon a determination by the director or that a person has consumed or used water in violation of any of the mandatory provisions of this chapter, or of any exception granted pursuant to the provisions of Section 15.42.050, the director may issue an order to cease and desist from such violation, and further order such person to comply forthwith with such provisions or exceptions, or otherwise to take appropriate remedial or preventive action. Any cease and desist order may be served personally, by mail, or by leaving a copy at or posted upon the person's residence or place of business.

C.  If, after the issuance of such cease and desist order, such person continues to consume or use, or again consumes or uses, water in violation of any such provision or exception, the director may issue a notice of intention to impose a penalty. Said notice shall:

1.  Identify the date, time, and circumstances of violation;

2.  State the amount of penalty to be imposed; and,

3.  Advise the person of the appeal rights as provided herein. The notice of intention to impose a penalty shall be served in the same manner as the cease and desist order.

D.  After a notice of intention to impose a penalty is served, a penalty shall be assessed to the utility account of the person in the amount of fifty dollars ($50.00) for the first violation, seventy-five dollars ($75.00) for the second violation, and one hundred fifty dollars ($150.00) for the third and each of any subsequent violations. The penalty shall be subject to collection in the same manner as any unpaid water service charges.

E.  A person shall have the right to appeal the imposition of the penalty assessed to the utility account. The person must request an appeal hearing in writing within fifteen (15) days from the date of service of the notice of intention to impose a penalty. The request for hearing must be addressed to the city clerk and shall be deemed served only when received by the city. Failure to properly serve the request for hearing within the fifteen-day period shall be deemed a waiver of the right to appeal the matter, and the penalty will be assessed against the person's account.

F.  The appeal hearing shall be held before a hearing officer appointed by the city council by resolution to preside at and render judgment from administrative hearings transacted under the authority of this chapter who shall make a factual finding on the existence of a violation. The person to be assessed shall be allowed to present such witnesses and evidence as he or she may desire and may be represented by an attorney or other representative of his or her choosing. The hearing officer shall give written notice by first class mail of the date and time of the appeal hearing at least ten (10) days prior thereto. Said hearing shall be held not later than thirty (30) days from receipt of the request for hearing unless continued by mutual consent of the person to be assessed and the hearing officer. The decision of the hearing officer shall be final. If a violation is found, the penalty shall be assessed to the utility account.

(Ord. No. 2479, § 1, 10-16-2017)

Chapter 15.44 - WATER SHORTAGE REGULATIONS APPLICABLE TO NON-COMMERCIAL VEGETABLE GARDENS

Sections:

15.44.010 - Purpose.

On January 19, 1993, the city council declared that a water shortage emergency exists and as a result has adopted mandatory water conservation regulations and restrictions. The city recognizes that noncommercial vegetable gardening has become a popular way to supplement food sources by its citizens. The city further recognizes that watering vegetables is critical during certain periods of development and that some vegetables require a consistent supply of water or moisture in order to grow. The purpose of this chapter is to provide specific watering restrictions that only apply to non-commercial vegetable gardens as defined in this chapter.

(Ord. No. 2438, § 1, 11-17-2014)

15.44.020 - Application of regulations.

The provisions of this chapter shall apply to all persons using water in and outside the city who are served by the city water system, regardless of whether any person using water shall have a contract for water service with the city. These regulations only apply to the watering or irrigating of non-commercial vegetable gardens as defined and provided for within this chapter.

(Ord. No. 2438, § 1, 11-17-2014)

15.44.030 - Definitions.

"Vegetable" means any plant, other than marijuana, whose fruit, nuts, berries, grains, seeds, roots, tubers, bulbs, stems, leaves or flower parts are used for food.

"Vegetable garden" means any "non-commercial" vegetable garden planted primarily for the cultivation of fruits, vegetables, flowers or herbs, other than marijuana, for human consumption. The term 'non-commercial' includes incidental direct selling of produce from such vegetable garden to the public. The defined area in which such plants are planted shall only be treated as a 'vegetable garden' for the purposes of this chapter if at least eighty (80) percent of the area designated as the vegetable garden is planted with fruits, vegetables, flowers or herbs, other than marijuana, which are cultivated for human consumption.

(Ord. No. 2438, § 1, 11-17-2014)

15.44.040 - Watering restrictions.

Vegetable gardens may be watered every day except for Mondays. The watering of vegetable gardens every day except for Mondays is restricted to before eleven a.m. and after seven p.m.

The watering of vegetable gardens shall not be done in a manner or to the extent that causes or allows excessive water flow or runoff onto adjoining sidewalks, driveways, streets, gutters or ditches.

(Ord. No. 2438, § 1, 11-17-2014)